## Slide 1: Lessons Learned While Deploying vSAN Two-Node Clusters
2
+
2
+
Wes Milliron – Systems Engineer
@wesmilliron
blog.wesmilliron.com

## Slide 2: Overview
2
+
2
+
What vSAN is and how it works
vSAN Requirements and Design Considerations
Configuration Summary with Gotchas
Unexpected Outcomes
Resources

## Slide 3: What is vSAN?
Software-defined storage solution
Pools local storage from hosts into a single shared datastore
Policy-driven (SPBM) performance and protection control
    No hardware RAID

## Slide 4: Types Of vSAN Deployments
vSAN 2-Node Cluster
Supports 1 failure
vSAN 3-Node Cluster
vSAN 4+ Node Cluster
2
+
vSAN 3-Node Cluster
Supports 1 failure
vSAN 4+ Node Cluster
Supports 2+ failures

## Slide 5: Title
2
+
Disk Groups
Logical grouping of physical disks on a host
Each disk group has 1 SSD for cache, and 1 or more capacity disks
At least 2 disk groups recommended per host
Example Hybrid vSAN Host

## Slide 6: Objects and Components
vSAN is object-based distributed storage
Objects are split into components, which are distributed across the hosts in the cluster
Component count is determined by object size/policy
    Failures to Tolerate (FTT)
    “RAID” Type
    Disk Stripes
    Maximum component size of 255 GB
50% of an objects components must be available

## Slide 7: Title
What is vSAN 2-Node for?
ROBO = Remote Office/Branch Office = License type
When HA is required, but the VM count for a site is low
Less expensive alternative to other HA ROBO solutions
Requires witness host
2
+

## Slide 8: Requirements | Hardware Compatibility
2
+
vSAN leans heavily on hardware functionality
Use the vSAN Hardware Compatibility List (HCL) while planning
Other options:
    VxRail from Dell EMC is an appliance-type solution
    Certified vSAN ReadyNodes from OEM partner of choice
NEW: vSAN Hardware Compatibility Checker Fling

## Slide 9: Requirements | Networking
2
+
Maximum of 500 ms latency is supported from hosting site to witness, but sub-200ms is recommended
Witness bandwidth required is 2Mbps/1000 components
Each host has a 9000 component maximum
    Witness bandwidth won’t exceed 18 Mbps
 | Between Hosting Nodes
Max Latency | 1 ms RTT
Bandwidth (Hybrid) | 1 Gbps
Bandwidth (All-Flash) | 10 Gbps

## Slide 10: vSphere and vSAN Versions
For vSAN versions 6.6 and later, unicast is fully supported for vSAN traffic
vSAN 6.6 Requires at least ESXi 6.5.0d
Try to avoid earlier versions
Notes: Online health checks use vSAN telemetry data and give the added benefit of HCL checks, improved debugging, etc

## Slide 11: Title
2
+
Requirements | Cluster Witness
One witness per cluster
Maintains quorum and data accessibility of the cluster
  Contains witness components
Does not contribute CPU/RAM/Storage to cluster
Witness OVA exclusively for 2-node and stretched cluster vSAN

## Slide 12: Licensing Considerations
Two licenses required:
  One for vSphere (hosts)
  One for vSAN (cluster)
ROBO licenses have a 25 VM maximum
DRS requires a vSphere Enterprise license
vSAN License Options

## Slide 13: Design | Limiting Factors
2
+
2
+
Determine your limiting factors:
    Budget
    Site networking options
    Witness location and networking
  Capacity
  Hardware
  Networking
Notes: Site networking options - 10 GB port availability - When would you choose to configure the cluster as direct-connect

## Slide 14: Design | Capacity Planning
2
+
2
+
Determine your limiting factors
  Capacity
      Hybrid or all-flash configuration
      2-node clusters are limited to mirrored storage policies
      Storage multiplier for mirrored policies is 2X
  Hardware
  Networking

## Slide 15: Design | Hardware Considerations
2
+
2
+
Determine your limiting factors
  Capacity
  Hardware
      Cache drive should be at least 10% of consumed storage
      Write buffer is limited to 600 GB
      SAS SSD vs M2 vs SD Card
      Separate RAID controller for OS volume
  Networking
Notes: Largest cache drive that makes sense
Hybrid 70/30 read/write
All cases – size should be at least 10% of total VM consumed size for cluster
Using DVS allows for easy management as well as use of NIOC
HCL is your friend

## Slide 16: Design | Networking Approach
2
+
2
+
Determine your limiting factors
  Capacity
  Hardware
  Networking
      Distributed Switch vs Standard vSwitch
        NIOC
        Link Aggregation Groups (LAG)
        vCenter Portability
Notes: Using DVS allows for easy management as well as use of NIOC

## Slide 17: Build Summary
2
+
2
+
Build ESXi hosts
Configure DVS
Deploy vSAN Witness
Create Cluster
Configure vSAN
Notes: This is the order I found that has the smoothest deployment
High-level view of the build and configuration steps – touching on gotchas
Don’t forget to document the process

## Slide 18: Host Configuration
2
+
2
+
Build ESXi hosts using standard practices
RAID controllers
    Passthrough mode
    Write caching disabled
Enable vMotion service on each host
Don’t forget NTP and Syslog!
Notes: If the controller can’t do passthru, RAID 0 configuration will work

## Slide 19: Title
2
+
Networking Configuration
Distributed vSwitch Creation
  Number of uplinks
  NIOC

## Slide 20: Title
2
+
Networking Configuration
Management Port Group
vSAN Port Group

## Slide 21: Title
2
+
Networking Configuration
vSAN VMK Creation
  Dedicated for vSAN traffic
  Remember the vSAN service!
Notes: Create VMK for vSAN on each host

## Slide 22: Witness Deployment
Separate subnets for management and vSAN VMKs
Set management IP, hostname, etc
Add witness host to vCenter
Modify witness vSAN VMK
  Override default gateway

## Slide 23: vSAN Cluster Creation
2
+
2
Create cluster object in vCenter with DRS and HA disabled
Enable vSAN service on the cluster
  Enable dedupe/compression if applicable
Claim vSAN disks for cache and capacity roles
  Code to link NAA ID with Drive Bay
Select the deployed witness appliance as cluster witness
+
C

## Slide 24: Required Extra Step for Direct-Connect Clusters
2
+
Witness traffic must be re-routed out of the management VMK
Run from each VM host - not witness
Information on Witness Traffic Separation
Troubleshoot with vmkping
esxcli vsan network ip add -i vmk0 –T=witness
vmkping <IP of vsan VMK on target> -I vmk1
Notes: By default, witness traffic from the hosts travels across the vsan network – in a direct connect scenario, that network is not routable. The witness traffic needs to be re-routed.
Vmk0 is the management network, in this example

## Slide 25: Title
Finishing Touches
Assign license to the cluster
Enable High Availability
  Admission Control set to 50% reserved for CPU and Memory
  Datastore heartbeating is not enabled by default on vSAN datstores
Patching
Without DRS, VMs need to be manually migrated
Hosts and witnesses must be at the same patch level
Upgrade the vSAN on-disk format version after entire cluster is patched
2
+
Notes: Admission control 50% reserved due to the mirrored, RAID-1, FTT=1 nature of the cluster

## Slide 26: vSAN Health Check
Able to drill down into potential issues
Automatically remediate problems
Online health checks

## Slide 27
Build and Ship
Stage environment in-house
Change IPs/DNS before shutdown
Ship to remote site
Ship and Build
Deliver to remote site
Build remotely
Remote hands follow runbook
2
+
Deployment Strategies

## Slide 28: Title
2
+
Documentation

## Slide 29: Title
2
+
Unexpected Outcomes
Organizational culture shift
Aligning design and deployment strategies
Do it once – do it right

## Slide 30: Resources
2
+
2
+
Storage Hub - VMware
Virtual Blocks Blog
Cormac Hogan’s Blog
Wes Milliron’s Blog
  Building a 2-Node Direct Connect vSAN Cluster
  Associating NAA ID with Physical Drive Bay
Use the vCommunity!
Notes: vSAN 6.7 U1 Deep Dive book
Can’t use a single blog post/source, pull info from multiple sources and community experts

## Slide 31: Thank You
2
+
2
+
@wesmilliron
blog.wesmilliron.com